## Sheet1
Compagnie	Service Multi Confort Lambert	Service Multi Confort Lambert	Service Multi Confort Lambert	Savignac	Savignac	Boréale	Alain Lavallée	Alain Lavallée	Alain Lavallée	Climatisation Express	Climatisation Express
Marque	GREE	GREE	Zephyr	M#itsubishi	Mitsubishi	Gree	Gree	Gree	Sharp	Sharp	ACD
Model	3VIR12HP230VIAO	SAP12HP230V1AH	ZE12CA22	MUZ-FH12NAH	MUZ-GL12NAH-U1
Model Intérieur						3VIR12HP230VIAH	GWH12ATCXBD3DNA4	GWH12AFCXD-D3DNA1		AY-XPC18ZU	OCD18KCH20S-I
Model Extérieur						3VIR12HP230VIAO	GWH12ATCXB-D3DNA1	GWH12AGCXDD3DNA1		AE-X18ZU	OCD18KCH20S-O
Prix	3500	3930	3100	4150	3850	3449.25	3100	3750		5518.8	3909.15
Subvention HQ						385 (non-trouvé)	340	350		2640?	1488?
COP						-	3.5	3.81		-	3.35
HSPF	11.5	14	10.8	12.5	11.8	11.5	10	11		11	10
BTU	12000	12000	13000	12000	12000	12000	12000	12000		18000	18000
Température Minimale	-30	-30	39/32/29/26	-25	-20	-30	-20	-25		-27	-25
dB (Extérieur)	52	53	53	48	48	52	52	52		52	55
dB (Intérieur)	27 – 43	22-49	26-29-32-39	20-23-29-36-40	19-22-30-37-43	27 – 43	37-57	37-57		49-47-41-31-25	47-43-40-39
Energy Star						Non	Non	Oui	Oui	Oui	Oui
Neep						Non	Non	Non	Oui	Oui	Non
Dégivrage (demande ou automatique)						-	-	-
Compresseur à vitesse variable						-	Oui	Oui
Garantie Pieces						10	10	10		6
Changement Tuyau						Oui	Oui	Oui
Garantie Main-d’oeuvre						1	1	1
Electricien						Oui	Non	Non
Capacité panneau électrique suffisante						Oui	Oui	Oui