## Sheet1
Compagnie	Service Multi Confort Lambert	Service Multi Confort Lambert	Service Multi Confort Lambert	Savignac	Savignac	Boréale	Alain Lavallée	Alain Lavallée	Alain Lavallée	Climatisation Express	Climatisation Express	Confort Climat	Confort Climat
Marque	GREE	GREE	Zephyr	Mitsubishi	Mitsubishi	Gree	Gree	Gree	Sharp	Sharp	ACD	Goodman	Gree
Model Intérieur	3VIR12HP230V1AH	SAP12HP230V1AH	ZE-12CA22INT	MUZ-FH12NA	MUZ-GL12NA	3VIR12HP230V1AH	GWH12ATCXB-D3DNA4C/I	GWH12AFCXD-D3DNA1A/I		AY-XPC18ZU	OCD18KCH20S-I		3VIR12HP230V1AH
Model Extérieur	3VIR12HP230V1AO	SAP12HP230V1AO	ZE-12CA22EXT	MUZ-FH12NAH	MUZ-GL12NAH-U1	3VIR12HP230V1AO	GWH12ATCXB-D3DNA1C/O	GWH12AGCXD-D3DNA1A/O		AE-X18ZU	OCD18KCH20S-O		3VIR12HP230V1AO
Prix (Taxes inclus)	4025	4518.52	3565
Subvention	385	405	375	405	460	385	340	350		2640	1488		385
Coefficient de performance (COP)	3.61	3.52	3.8			3.61							3.61
HSPF	11.5	12	10.8			11.5							11.5
BTU	12000	12000	12000			12000							12000
Température Minimale	-30	-30	-25			-30							-30
dB (Extérieur)	52	53	53			52							52
dB (Intérieur)	43 / 27	49 / 22	39 / 32 / 29 / 26			43 / 27							43 / 27
Energy Star	Oui	Oui	Oui			Oui							Oui
Neep	Non	Non	Non			Non							Non
Changement Tuyau						Oui	Oui	Oui	Oui	Oui	Oui
Garantie Pieces						10	10	10	10	6
Garantie Main-d’oeuvre						1	1	1	10	Oui	Oui
Garantie Transférable							Oui	Oui	Oui